## Summary
SCHEDULE OF ITEM AND BILL OF QUANTITIES : RENOVATION WORK AT ROHONPUR SME UNIT OFFICE
DESCRIPTION | AMOUNT
A. MS/SS/ACP WORKS | 0
B. PAINT WORKS | 0
C. ELECTRICAL WORKS | 0
D. DOORS & PARTITIONS | 0
E. MISCELLANEOUS WORKS [BLINDS, PVC ETC.] | 0
F. IT & NETWORKING WORKS | 0
GRAND TOTAL | 0

## BOQ
SCHEDULE OF ITEM AND BILL OF QUANTITIES : RENOVATION WORKS AT ROHONPUR SME UNIT OFFICE
S.L | ITEMS | UOM | QTY | RATE | AMOUNT
A. MS/SS/ACP WORKS
1 | Collapsible Gate Supply, fitting & fixing collapsible gate with approved thickness and quality including locking arrangement and paint finish etc. complete in all respect as per design drawing and direction of Architect/ Authority. | SFT | 68 |  | 0
2 | Supply of Metal Door-Hollow Metal Door (Lens/glass frame view facilities) with Security Lock, Handle & 01 Nos Hatch Bolt. MS Door Shutter with 38mmX38mmX6mm angle outer frame, inner member 25mmX6mm FI bar. Cladding with 16 BWG MS sheet 04 nos 75mm long hinge 02 nos locking arrangement with 50mmX50mmX6mm MS angle Chowkath. Applying cynthetic enamel paint by brush and roller in 2 coats over single coat anti corrotive prime. INCLUDING ALL NECESSARY CIVIL MODIFICATION WORKS | NOS | 0 |  | 0
Sub Total |  |  |  |  | 0
B. PAINT WORKS
1 | PLASTIC PAINT Plastic painting of ‘Berger’ brand of approved color to wall minimum 3 coats with lime putty work, cleaning, sand papering the surfaces in/c. necessary scaffolding etc. complete in all respect as per direction of Architect/ Authority. | SFT | 2500 |  | 0
2 | ENAMEL PAINT Synthetic Enamel paint of ‘Berger’ brand of approved color to wall, ceiling, wooden surfaces, iron grills, shutters etc. minimum 2 coats over a coat of priming including cleaning, finishing and polishing with sand paper and necessary scaffolding etc. complete in all respect as per direction of Architect/Authority. | SFT | 400 |  | 0
Sub Total |  |  |  |  | 0
B. ELECTRICAL WORKS
1 | Concealed/exposed conduit wiring for following light points including louver shade/PL shade & light/Tube light & its components with looping at the gang (1G/2G/3G/4G as required) switch including grooving/wall cutting, circuit wiring (circuit breaker to Switch) with BYA 1C-2X2.5 Sq.mm, BYA 1C-2X1.5 sq. mm (switch to light) for light wiring & BYA1CX1.0 sq. mm green ECC through PVC conduit of good quality of minimum 3/4" dia complete with all fixing materials following the provided design. Cable brand: BRB/Paradise GANG SWITCHES brand: Legrand/MK brand Light brand :EnegryPac/Philips/Transtec Light Type : LED (13 W)
1.1 | Louver shade light point | NOS
1.2 | PL light point
1.2.1 | 1 light though 1 switch |  | 4 |  | 0
1.2.2 | 2 light though 1 switch |  | 2 |  | 0
1.2.3 | 3 light though 1 switch |  | 8 |  | 0
1.3 | Tube light |  |  |  | 0
1.3.1 | 01 no. tube light through 1 switch |  | 1 |  | 0
1.3.2 | 02 nos tube light through 1 switch |  | 0 |  | 0
1.3.3 | 03 nos tube light through 1 switch |  | 0 |  | 0
1.3.4 | 04 nos tube light through 1 switch |  | 0 |  | 0
2 | Concealed/exposed conduit wiring for following points looping at the gang (1G/2G/3G/4G as required) switch including grooving/wall cutting, circuit wiring (CB to Switch) with BYA 1C-2X2.5 Sq.mm, BYA 1C-2X2.5 Sq.mm (switch to fan) & BYA 1CX1.5 sq. mm green ECC through PVC conduit of good quality of minimum 3/4" dia complete with all fixing materials following the provided design. Cable brand: BRB/Paradise GANG SWITCHES brand: Legrand/MK brand | NOS |  |  | 0
2.1 | Exhaust Fan point with exhaust fan (all complete) | NOS | 3 |  | 0
2.2 | Ceiling fan point |  | 0 |  | 0
2.3 | Supply & Installation of wall mountain fan with necessary power connection |  | 1 |  | 0
3 | Concealed conduit wiring for following points through looping at the socket/outlet of 5A/13A/15A including grooving/wall cutting, circuit wiring with BYA 1C-2X2.5 Sq.mm & BYA 1CX1.5 sq. mm green ECC through PVC conduit of good quality of minimum 3/4" dia complete with all fixing materials following the provided design. Cable brand: BRB/Paradise SOCKET brand: Legrand/MK brand |  |  |  | 0
3.1 | Socket point | NOS |  |  | 0
3.1.1 | 4nos - 3pin & 2nos -2pin through 1 circuit |  | 3 |  | 0
3.1.2 | 6nos - 3pin & 3nos -2pin through 1 circuit |  | 0 |  | 0
3.1.3 | 2nos - 3pin & 1nos -2pin through 1 circuit |  | 5 |  | 0
3.1.4 | 1nos -Multi Socket through 1 circuit |  | 2 |  | 0
3.1.5 | DP switch for signage |  | 1 |  | 0
3.3 | 3-pin round socket point |  |  |  | 0
4 | Concealed/exposed conduit wiring for following AC points from DB to AC outdoor unit including circuit wiring with BYA 1C- 4 Sq.mm & BYA 1CX1.5 sq. mm green ECC through PVC conduit of good quality of minimum 3/4" dia complete with all fixing materials following the provided design. Cable brand: BRB/Paradise |  |  |  | 0
4.1 | Single phase AC | NOS | 1 |  | 0
4.2 | Three phase AC |  | 1 |  | 0
5 | Concealed/exposed conduit telephone cable laying for following points including grooving/wall cutting, telephone socket of Legrand brand with telephone cable from PABX machine to each loaction through PVC conduit of good quality of minimum 3/4" dia complete with all fixing materials following the provided design/supervisor's instruction. Cable brand: BRB/Paradise SOCKET brand: Legrand/MK brand |  |  |  | 0
5.1 | 1-pair telephone point |  | 0 |  | 0
5.2 | 2-pair telephone point | NOS | 0 |  | 0
6 | MCCB/MCB: Supply and installation of following SP (240V grade) TP (500 V grade) MCB/MCCB in pre installed distribution board in/c connection with cable, cable socket, nut bolts, PIB tape etc. complete in respect providing necessary consumable in/c testing & commissioning as per design, drawing and direction of Authority. brand : Legrand/ABB MCCB/MCB’s brand: Legrand/ABB |  |  |  | 0
6.1 | 6 A to 40 A SP MCB-6 kA | NOS | 12 |  | 0
6.2 | 50 A to 63 A SP MCB-6 kA |  | 0 |  | 0
6.3 | 6 A to 40 A TP MCB-6 kA |  | 1 |  | 0
6.4 | 50 A to 63 A TP MCB-6 kA |  | 0 |  | 0
6.5 | 63 A MCCB (TP) - Adjustable - 16kA |  | 1 |  | 0
6.6 | 125 A MCCB (TP)-Adustable-16 kA |  | 0 |  | 0
6.7 | Manual Change over Switch 160 A Brand: Havells or equivalent |  |  |  | 0
6.8 | 160 A MCCB (TP)-Adustable-36 kA |  | 0 |  | 0
7 | CABLES WORKS: Supply and installation of following cables through required size PVC pipe with all consumable materials as per design, drawing and direction of Authority. Brand : BRB/Paradise |  |  |  | 0
7.1 | 1CX10 rm BYA for earthing | RFT | 0 |  | 0
7.2 | 1CX6 rm BYA for earthing |  | 200 |  | 0
7.3 | 1CX6 rm BYA for ATM |  | 0 |  | 0
7.4 | 1CX10 rm NYY (Sub Branch to UO) |  | 600 |  | 0
7.4 | 1CX16 rm NYY (Main Meter to DB) |  | 0 |  | 0
7.5 | 1CX25 rm NYY |  | 0 |  | 0
8 | DISTRIBUTION BOARD Supply and installation of following distribution boards [At least 2’ - 0” W x 3’ - 0” H, 6 Sft] or specified in drawing of required size made by 18 SWG B.P. sheet metal enclosed with double cover powder coated painted on outside and enamel paint on inside on rust proof prime coat with hinged front door with handle, lock & key arrangement for concealed/half concealed mounted board having knock out for conduit entry and exit for 415/230V TPN/SPN operations. The board shall have solid three phase, neutral and earth copper bus bar . MCCB/MCB’s are to be so arranged as to keep the knobs projected over the inside ebonite cover. There should be provision for fixing Air-Cooler circuit breakers and emergency circuit breakers as per requirement. The work shall be complete in all respect providing necessary consumable in/c testing & commissioning, as per design, drawing and direction of Authority. Note: 1. Layout design of Distribution Board as per design must be attached inside the boards and there should be marking of all circuit breakers. |  |  |  | 0
8.1 | MDB(Busbar rating of 400A) | NOS | 1 |  | 0
8.2 | EDB(Busbar rating of 300A) | NOS | 0 |  | 0
8.3 | SDB/ESDB(Busbar rating of 250A) | NOS | 0 |  | 0
8.4 | SDB/ESDB(Busbar rating of 100A) - ATM | NOS | 0 |  | 0
9 | Digital 3 pahse Meter | NOS | 0 |  | 0
10 | EARTHLING SYSTEM Supplying and installation of 100’-0” depth 1½” dia G.I. pipe earth electrode by tube well sinking method including supply of 2 SWG HDBC earthling lead from the bottom of earth electrode to the earthling bar of distribution board. Making an earth inspection pit of size 20” x 20” x 18” inside clear. Bottom of pit shall be 3” thick C.C. work and four side wall shall be 5” thick brick wall with ½” plastering and 3” thick R.C.C. cover slab. The top end of the electrode shall be 3” above from the bottom C.C. work. Complete in all respect in/c testing & commissioning, as per design, drawing and direction of Authority. Note: 1. Voltage between neutral and earth [Inductive voltage] must be less than 2 volt. 2.The total arrangement must be theft proof as per site condition. | SET | 0 |  | 0
Sub Total |  |  |  |  | 0
C. DOORS & PARTITIONS
1 | TEMPERED GLASS DOOR Supplying, fitting and fixing imported Frameless Tempered Glass Door having 10 mm thickness with all foreign made hardware of best quality available viz. Stainless steel handless concealed auto-closer, stopper, locking arrangement complete in all respect as per design, drawing and direction of Architect/Authority. Size : 3’- 0” W x 7’- 0” | NOS | 1 |  | 0
2 | ENGRAVED GYPSUM BOARD CEILING Supplying, fitting and fixing 10 mm thick approved quality Gypsum board false ceiling fixed over powder quoted T-bar & cross T of section 1”X 1½”, and L-angle of section 1” X 1” at edges, at 2’-0” X 2’-0” grid suspended from ceiling by 12 SWG double ply G.I. wire fixed to the ceiling by rowel plug, iron angles, screws, hooks, nails etc. maintaining straight lines and desired finished level at bottom face with vertical wooden strut as required in/c making holes in slabs, or beams by electric drill machine and mending good the damages, if any, during execution of the work in/c cost of all materials, accessories, scaffoldings, labor for installation, screws, nails, etc. complete in all respect as per design, drawing and direction of Architect/Authority. | SFT | 650 |  | 0
3 | PLAIN GYPSUM / PARTEX BOARD DROP CEILING & PANELING Supplying, fitting and fixing false ceiling and paneling of ½” thick plain Gypsum board/Plain PARTEX board having maximum compressive pressure, suspended from existing R.C.C. ceiling of the building at a level of 8’-0” [or as per direction] height on a 2’-0” x 2’-0” grid frame work of C steel section/1½” x 2½” wooden section of best quality seasoned Garjan wood in/c anchoring the alternate junctions with 12 SWG double ply G.I. wire fixed to the ceiling by rowel plug, screws, hooks, nails etc. maintaining straight lines and desired finished level at bottom face with vertical wooden strut a required in/c making holes in slabs, or beams by electric drill machine & mending good the damages if any, during execution of the work in/c cost of all materials, accessories, scaffoldings, labour for installation, screws, nails, etc, making provisions for lighting arrangement, including painting with at least 3 coats of approved colour plastic paint over a coat of priming in/c necessary sanding, putty works etc. complete in all respect as per design, drawing and direction of Architect/Authority. | SFT | 100 |  | 0
4 | PARTEX FLUSH DOOR Supplying, fitting and fixing 1½” thick Garjan/Commercial Veneered ‘PARTEX’ Flush door in/c supplying and making of door frames of best quality and well seasoned Ctg. Shill Karai/Garjan of section 6” X 2” [5” wall flush] in/c painting two coats of Coaltar/Enamel paint to the surface in contract with wall, lock & other accessory fitted and fixed in position by 6 nos. heavy type iron clamps and mending good the damages if any in/c fitting and fixing best quality 4 nos. 4” antique color iron hinges, 2 nos. best quality 6” aluminum tower & socket bolts [BTA], Alpha-Japan or equivalent mortise door lock, in/c applying 3 coats of approved color enamel paint of Berger brand over a coat of priming in/c cleaning, finishing and polishing with sand paper, putty works etc. complete in all respect as per design drawing and direction of Architect/Authority. [Door Size : 3’-0” x 7’-0”] | NOS | 3 |  | 0
5 | DOOR CLOSER Supply, fitting & fixing of imported door closer of approved quality ( New Star ) in position including all required accessories ensuring minimum injury to door shutter and frame etc.complete in all respect as per design, drawing and direction of Architect/Authority. | NOS | 1 |  | 0
6 | SOLID PARTITION ( Measurement like bricks wall Length X width ) Supply, fitting & fixing full height partition made of 10 mm gypsum board fixed over framing by 'C' section channel of 16 SWG galvanized sheet including best quality hardware materials etc. complete in all respect as per design, drawing and direction of Architect/Authority. | SFT | 50 |  | 0
Sub Total |  |  |  |  | 0
D. MISCELLANEOUS WORKS
1 | VENETIAN BLIND [Vertical] Supplying, fitting and fixing in position imported best quality 125 mm wide vertical blinds of approved color and quality with all imported accessories complete in all respect as per design, drawing & direction of Architect/Authority. | SFT | 120 |  | 0
2 | SELF ADHESIVE FROSTED PAPER Supplying, fitting and fixing frosted paper on Main entry door and other glass surfaces after cutting logo and lettering with fine finish, complete in all respect as per design, drawing & direction of Architect/ Authority. | SFT | 20 |  | 0
3 | PVC Board Pasting on Damp Wall [5 mm] with Paint Finishing | SFT | 0 |  | 0
4 | PVC DOOR MAT Supplying, fitting and fixing best quality imported PVC mat [Dust catcher] complete in all respect as per direction of Architect/Authority. | SFT | 30 |  | 0
Sub Total |  |  |  |  | 0
E. IT & NETWORKING WORKS
1 | New Network Connection Establishment from Subbranch's Server Rack [same floor] to the tables all complete with Face Plate, Modular, Patch Cord etc. [Cat 6 Cable Brand - Panduit/Systemax/ADP] | NOS | 10 |  | 0
Sub Total |  |  |  |  | 0
|  |  | Grand Total: |  | 0