## SUMMARY
Boq of Renovation work at Sepal Tower Level 4
SL | ITEMS | AMOUNT
A | CIVIL WORKS | 0
B | PAINT WORKS | 0
C | FLOOR FINISH WORKS | 0
D | PLUMBING & SANITARY WORKS | 0
E | ELECTRICAL WORKS | 0
F | DOORS & PARTITIONS | 0
G | MISCELLANEOUS WORKS | 0
H | FURNITURE WORKS | 0
I | IT & NETWORKING WORKS | 0
TOTAL |  | 0

## BOQ
Boq of Renovation work at Sepal Tower Level 4
S.L | ITEMS | UOM | QTY | RATE | AMOUNT
A. CIVIL WORK
1 | DISMANTLING [All necessary dismantling to complete the project] Dismantling some existing Brick works (100sft), CC works(5 Cft), solid partions 200 sft,Old glass Partion 500 sft, glass Door removing works, Opening 6 nos 4 person & 3 nos 6 person open work station etc. as per direction of the Architect/Authority and removing the debris to a safe distance to be shown by the Authority from the site by the contractor at his own cost and responsibility. Proper care and precautions should be taken for the safety of the Building including its services [viz: Structural, Plumbing & Sanitary, Electrical, Computer Network etc.] during dismantling. | Job | 1 |  | 0
2 | 5” THICK BRICK WORK Brick work with 1st class bricks of one brick width [±5”] in cement mortar (1:4) in exterior or interior walls in/c filling the interstices with mortar, racking out joints cleaning and soaking the bricks at least for 24 hours before use and necessary scaffolding, curing at least for 7 days etc. complete in all respect as per design drawing and direction of Architect/ Authority. | sft | 30 |  | 0
3 | CEMENT PLASTER 12mm (1/2") thick cement sand (F.M. 1.2) plaster (1:4) with fresh cement to wall both inner-and outer surface, finishing the corner and edges and curing at least for 7 days etc. complete in all respect as per design drawing and direction of Architect/Authority. | sft | 60 |  | 0
4 | HOMOGENEOUS WALL TILE Supplying, fitting and fixing Country made GP (Gress Porcellanto) - glazed or unglazed homogeneous floor tiles complying BDS ISO 13006: 2015, water absorbtion ≤ 0.5%, modulus of rupture (MOR) ≥ 27 N/mm2, Size: 400mmX400mm and quality on 20 mm thick cement mortar (1:2) base or by ‘CONMIX’ base and raking out the joints with white cement and colored pigment including cutting by electric disk cutter and laying tiles in proper way in/c chipping or dismantling of existing floor/tiles if necessary and finishing with care etc., complete in all respect as per design drawing and direction of Architect/Authority. BRAND: RAK/CBC/X-CERAMIC/MIR/CHARU | sft | 40 |  | 0
|  |  | 0 |  | 0
Sub Total |  |  |  |  | 0
B. PAINT WORKS
1 | Paint (inside) (White/off-white) Applying 1 coat of interior sealer on prepared surface; then applying 1 coat of interior putty; finally applying 2 coats of interior standard acrylic emulsion paint (plastic finish) by brush/roller; all complete in all floors and accepted by the Engineer-in-charge. | Sft | 500 |  | 0
2 | Existing paint Old surface(Black/Ash/Grey) applying 1 coat of exterior putty; finally applying 2 coats of interiorr standard plastic paint (Burger paint) coat by brush/roller; all complete in all floors and accepted by the Engineer-in-charge. | Sft | 1500 |  | 0
Sub Total |  |  |  |  | 0
C. FLOOR FINISH WORKS
1 | CARPET (TILES): Supplying, fitting and fixing complete in all respect as per design drawing and direction of Architect/Authority. | Sft | 650 |  | 0
| CARPET (ROLLER) : Supplying, fitting and fixing complete in all respect as per design drawing and direction of Architect/Authorit |  | 1600 |  | 0
Sub Total |  |  |  |  | 0
D. PLUMBING & SANITARY WORKS
1 | COMMODE SET Supplying, fitting and fixing foreign made approved colored combi commode in/c all if its original fittings viz. flushing arrangements, seat cover fixing screws/bolts, preparing the base of commode with cement concrete and with wire net or rods, if necessary, in/c making holes wherever required and mending good the damages and fitting, fixing complete with all necessary fittings and connection as per design, drawing and direction of Architect/Authority. [RAK/Victory / Huida] | Set | 0 |  | 0
2 | CABINET/PEDESTAL BASIN Supplying, fitting and fixing Foreign made approved colored glazed vitreous Basin [Pedestal/Cabinet type] in/c fitting, fixing the same in position with heavy type C.I. brackets, in/c fitting and fixing all necessary fittings, chain plug in/c making holes in walls and floors, mending good the damages etc., complete in all respect as per design drawing and direction of Architect/Authority. [Charu] Model : CM 307 , PEDESTAL charu , Model : CM 1018 | Set | 1 |  | 0
3 | REQUIRED PLUMBING AND SANITARY WORKS FOR PANTRY (60 SFT) - Necessary plumbing and sanitary works ( ONLY SINKCOCK , BASIN AND WASTE WATER LINE)[internal and external, if required] including water, soil, waste water pipe of approved quality and specifications complete in all respect as per design drawing and direction of Architect/Authority. | Job | 1 |  | 0
4 | STAINLESS STEEL SINK (SINK/DEPTH-8 inch) Supplying, fitting and fixing best quality foreign made stainless steel kitchen sink of 20” X 40” size [single bowl single tray] fixing the same on R.C.C tiled counter with heavy type C.I brackets 30 mm dia PVC waste water pipe with brass coupling in/c fitting and fixing the sink waste in/c making holes in walls and floors and fitting with rowel plugs, screws and mending good the damages etc. complete in all respect as per design, drawing and direction of Architect/Authority. | Set | 1 |  | 0
5 | MISCELLANEOUS TOILET FITTINGS [Local / Foreign made] Supplying, fitting and fixing best quality local / foreign made following items of approved brand [‘Nazma’-Local / Approved - Foreign] in/c making holes in walls by Electric Hammer Drill Machine, in/c Supplying, fitting and fixing clamps, rowel plugs and screws of appropriate size, other necessary consumables in/c making holes in walls and floors [where necessary] and mending good the damages etc., complete in all respect as per design, drawing and direction of Architect/Authority. |  |  |  | 0
[A] | TOWEL RAIL [Local] Best quality available C.P. towel rail of 600 mm X 20 mm size with C.P. holder, screws etc. | Nos | 0 |  | 0
[B] | ANGLE STOP COCK [Local] Best quality available 12mm heavy type C.P concealed angle stop cock.Model : Sharif SM8232 | Nos | 2 |  | 0
[C] | 2 IN 1 BIB COCK [Local] Best quality available heavy type 12 mm C.P concealed bib cock. | Nos | 0 |  | 0
1 | PILLAR COCK [Local] Best quality available heavy type 12 mm C.P pillar cock. Brand : Sharif , Model : SM 7263 | Nos | 2 |  | 0
[E] | BIB COCK [Local] Best quality available heavy type 12 mm C.P concealed bib cock. | Nos | 0 |  | 0
[F] | SINK COCK [Local] Best quality available heavy type 12 mm C.P concealed moving sink cock. Sharif Model:SM8224 | Nos | 1 |  | 0
[G] | HAND SHOWER [Foreign] Supplying, fitting and fixing best quality local made hand shower approved quality complete in all respect as per design, drawing and direction of Architect/Authority. | Nos | 0 |  | 0
[H] | BOTTLE TRAP [Local] Best quality available heavy type C.P bottle trap. | Nos | 0 |  | 0
[I] | SOAP TRAY [Local] Best quality available C.P Soap tray of standard size in/c all fittings etc. | Nos | 2 |  | 0
[J] | CONNECTION PIPE [Foreign] Best quality available 12 mm dia plastic connection pipe of required length with brass coupling at both end. | Nos | 3 |  | 0
[K] | PAPER HOLDER [Local] Best quality available heavy type C.P. paper holder in/c one roll of paper. | Nos | 0 |  | 0
[L] | FLOOR GRATING [Foreign] Best quality available stainless steel made square type floor grating in traps or in drains. | Nos | 0 |  | 0
[M] | GATE VALVE [ITAP brand, Pedrollo] Supplying, fitting & fixing best quality Italian made ‘ITAP’ brand ½” dia gate valve complete in all respect as per design, drawing and direction of Architect/Authority.Sharif | Nos | 2 |  | 0
[N] | BASIN MIRROR [Foreign] Supplying, fitting and fixing best quality mirror made by float glass on wall fixed by approved type glass holder complete in all respect as per design, drawing and direction of Architect/Authority. | Sft | 0 |  | 0
[O] | LIQUID SOAP CASE Supply, fitting & fixing of Liquid soap case ( Imported) of approved color with necessary hardware etc. all complete as per full satisfaction of the Brac Bank Consultant. . | Nos | 3 |  | 0
[P] | URINAL Supply, fitting & fixing of urinal set ( Local ) of approved color with other fittings etc. complete in all respect as per design drawing and direction of Architect/ Authority. |  | 0 |  | 0
[Q] | COAT HANGER Supply, fitting & fixing of COAT HANGER ( Imported) of approved color with necessary hardware etc.complete in all respect as per design drawing and direction of Architect/ Authority. | Nos | 0 |  | 0
Sub Total |  |  |  |  | 0
E. ELECTRICAL WORKS
1 | Emergency light (Rechargeable-all complete, location-front of vault, locker & server room ) | Nos | 0 |  | 0
1 | Concealed/exposed conduit wiring for following light points including louver shade/PL shade & light/Tube light & its components with looping at the gang (1G/2G/3G/4G as required) switch including grooving/wall cutting, circuit wiring (CB to Switch) with BYA 1C - 2 x 2.5 Sq.mm, BYA 1C - 2 x 1.5 sq. mm (switch to light) for light wiring & BYA 1C x 1.5 sq. mm green ECC through best quality PVC conduit of minimum 3/4" dia (for 6 nos single core cable) / 1" dia (for 10 nos single core cable) complete with all fixing materials & following brands: Cable brand: BRB/Paradise GANG SWITCHES brand: Legrand/MK brand /Energypac Light brand :EnegryPac/EnegryPlus/Transtec Light Type : LED BULB (13 W) , 2'x2' light |  |  |  | 0
1.1 | Louver shade light point | Nos |  |  | 0
1.2 | LIGHT POINT (LED Conceal Panel light 18 watt) |  |  |  | 0
1.2.1 | 1 NOS light though 1 switch |  | 0 |  | 0
1.2.2 | 2 NOS light though 1 switch |  | 0 |  | 0
1.2.3 | 3 NOS light though 1 switch |  | 0 |  | 0
1.2.4 | 4 NOS light though 1 switch ) |  | 3 |  | 0
1.2.5 | 4 Midium down light shed with 1 x 3/12 Watts LED bulb though 1 switch |  |  |  | 0
1.2.6 | 2 NOS panel light ( SIZE-2'-0" X 2'-0") |  | 20 |  | 0
1.2.7 | 2 NOS LED Spot light shed (3W) though 1 switch |  | 3 |  | 0
1.2.7 | Pendient Light/Hanging Light :Supply, fitting & fixing On 1st Floor Ceiling with approved thickness and quality including locking arrangement and paint finish etc. complete in all respect as per design drawing and direction of Architect/ Authority. |  | 0 |  | 0
1.3 | Tube light (Long Tube/ Short Tube) |  |  |  | 0
0 | 01 no. tube light (LT/ST) through 1 switch |  | 0 |  | 0
1.3.2 | 02 nos tube light (LT/ST) through 1 switch |  | 0 |  | 0
1.3.3 | 02 nos tube light (LT/ST) through 1 switch |  | 0 |  | 0
1.3.4 | 03 nos tube light (LT/ST) through 1 switch |  | 0 |  | 0
1.3.5 | 04 nos tube light (LT/ST) through 1 switch |  | 0 |  | 0
1.3.6 | 05 nos tube light (LT/ST) through 1 switch |  | 0 |  | 0
2 | Concealed/exposed conduit wiring for following points looping at the gang (1G/2G/3G/4G as required) switch including grooving/wall cutting, circuit wiring (CB to Switch) with BYA 1C-2 x 2.5 Sq.mm, BYA 1C-2 x 2.5 Sq.mm (switch to fan) & BYA 1C x 2.5 sq. mm green ECC through best quality PVC conduit of minimum 3/4" dia (for 6 nos single core cable) / 1" dia (for 10 nos single core cable) complete with all fixing materials & following brands: Cable brand: BRB/Paradise GANG SWITCHES brand: Legrand/MK brand | Nos |  |  | 0
2.1 | Exhaust Fan point (All complete, Separate Switch) | Nos | 2 |  | 0
2.1 | Ceiling fan point |  | 0 |  | 0
2.1 | LED TV point for hanging the old TV (all complete) |  | 1 |  | 0
2.1 | Wall fan point for fan setup (all complete) |  | 0 |  | 0
3 | Concealed conduit wiring for following points through looping at the socket/outlet of 5A/13A/15A including grooving/wall cutting, circuit wiring with BYA 1C-2 x 2.5 Sq.mm & BYA 1C x 2.5 sq. mm green ECC through PVC conduit of good quality of minimum 3/4" dia (for 6 nos single core cable) / 1" dia (for 10 nos single core cable) complete with all fixing materials & following brands: Cable brand: BRB/Paradise SOCKET brand: SSG/Energypac |  |  |  | 0
3.1 | Socket point | Nos |  |  | 0
3.1.1 | 18nos - 5pin through 1 circuit |  | 0 |  | 0
3.1.2 | 12nos - 5pin & 1 circuit |  | 0 |  | 0
3.1.3 | 2nos - 3pin & 1nos -2pin through 1 circuit |  | 2 |  | 0
3.1.4 | 2 nos -3 pin & 2 nos - 2pin through 1 circuit |  | 0 |  | 0
3.1.5 | 2nos - 3pin & 1 nos 2 pin through 1 plug (Fro vault/locker room from outside socket ) |  | 0 |  | 0
3.1.6 | 2nos - 3pin through 1 plug (UPS output to SME FLOOR SERVER RACK socket) |  | 0 |  | 0
3.1.7 | 1nos - 3 pin & 1nos -2 pin through 1 circuit |  | 0 |  | 0
3.1.8 | 3nos -3 pin round socket through 1 circuit (15amp) |  | 2 |  | 0
3.1.9 | 2 pin socket adjacent of main gate |  | 0 |  | 0
3.1.10 | 1 nos 5pin socket (with out cabeling work only supply & fitting) |  | 140 |  | 0
3.1.11 | Existing ELECTRICAL WIRING RE-ARRANGEMENT WORK with necessary new cable , pipe etc all complete.(3 nos Socket opening & Refitting) |  | 46 |  | 0
4 | Concealed/exposed conduit wiring for following AC points from DB to AC Outdoor/Indoor unit including circuit wiring with BYA 1C- 2 x 4 Sq.mm & BYA 1C x 4 sq. mm green ECC (for Three Phase AC) and BYA 1C- 2 x 2.5 Sq.mm & BYA 1C x 2.5 sq. mm green ECC (for Single Phase AC) through best quality PVC conduit of minimum 3/4" dia (for 6 nos single core cable) / 1" dia (for 10 nos single core cable) complete with all fixing materials & following brands: Cable brand: BRB/Paradise |  |  |  | 0
4.1 | Single phase AC | Nos | 1 |  | 0
4.2 | Three phase AC |  | 2 |  | 0
5 | Concealed/exposed conduit telephone cable laying for following points including grooving/wall cutting, telephone socket of Legrand brand with telephone cable from PABX machine to each loaction through PVC conduit of good quality of minimum 3/4" dia complete with all fixing materials following the provided design/supervisor's instruction. Cable brand: BRB/Paradise SOCKET brand: Legrand/MK brand |  |  |  | 0
5.1 | 1-pair telephone point |  | 0 |  | 0
5.2 | 2-pair telephone point | Nos | 0 |  | 0
6 | MCCB/MCB: Supply and installation of following SP (240V grade) TP (500 V grade) MCB/MCCB in pre-installed distribution board in/c connection with cable, cable socket, nut bolts, PIB tape etc. complete in respect providing necessary consumable in/c testing & commissioning as per design, drawing and direction of Authority. brand : Legrand/ABB MCCB/MCB’s brand: Legrand/ABB |  |  |  | 0
6.1 | 6 A to 40 A SP MCB-6 kA | Nos | 5 |  | 0
6.2 | 50 A to 63 A SP MCB-6 kA |  | 0 |  | 0
6.3 | 6 A to 40 A TP MCB-6 kA |  | 0 |  | 0
6.4 | 50 A to 63 A TP MCB-6 kA for ATM |  | 0 |  | 0
6.5 | 16 A to 100 A MCCB (TP) - Adjustable - 16kA |  | 0 |  | 0
6.6 | 125 A MCCB (TP)-Adustable-16 kA |  | 0 |  | 0
6.7 | 160 A MCCB (TP)-Adustable-36 kA ( if require on connection end) |  | 0 |  | 0
7 | CABLES WORKS: Supply and installation of following cables through required size PVC pipe with all consumable materials as per design, drawing and direction of Authority. Brand : BRB/Paradise |  |  |  | 0
7.1 | 1CX10 rm BYA for earthing | Feet | 0 |  | 0
7.2 | 1CX6 rm BYA for earthing |  | 0 |  | 0
7.3 | 1CX6 rm BYA |  | 0 |  | 0
7.4 | 1CX6 rm BYA for ATM |  | 0 |  | 0
7.5 | 1CX10 rm NYY |  | 0 |  | 0
7.6 | 1CX16 rm NYY |  | 0 |  | 0
7.7 | 1CX25 rm NYY |  | 0 |  | 0
7.8 | 1CX35 rm NYY |  | 0 |  | 0
8 | DISTRIBUTION BOARD Supply and installation of following distribution boards [At least 2’ - 0” W x 3’ - 0” H, 6 sft] or specified in drawing of required size made by 18 SWG B.P. sheet metal enclosed with double cover powder coated painted on outside and enamel paint on inside on rust proof prime coat with hinged front door with handle, lock & key arrangement for concealed/half concealed mounted board having knock out for conduit entry and exit for 415/230V TPN/SPN operations. The board must have insulated hard drawn electrolytic copper bus bar for three phase, neutral and earthing. Bus Bars must have transparent protective cover (Ebonite sheet). MCCB/MCB’s are to be so arranged as to keep the knobs projected over the inner ebonite cover. There should be provision for fixing emergency circuit breakers as per requirement. The work shall be complete in all respect providing necessary consumable in/c testing & commissioning, as per design, drawing and direction of Authority. Note: 1. Layout design of Distribution Board as per design must be attached inside the boards and there should be marking of all circuit breakers. |  |  |  | 0
8.1 | MDB(Busbar rating of 400A) | Nos | 0 |  | 0
8.2 | EDB(Busbar rating of 300A) (Branch-01 & SME-01) | Nos | 0 |  | 0
8.3 | SDB/ESDB(Busbar rating of 250A) | Nos | 0 |  | 0
8.4 | SDB/ESDB(Busbar rating of 100A) - ATM | Nos | 0 |  | 0
Sub Total |  |  |  |  | 0
F. DOORS & PARTITIONS
1 | NEW TEMPERED GLASS DOOR Supplying, fitting and fixing imported Frameless Tempered Glass Door having 10 mm thickness with all foreign made hardware of best quality available viz. Stainless steel handless concealed auto-closer, stopper, locking arrangement complete in all respect as per design, drawing and direction of Architect/Authority. Size : 3’- 0” W x 8’- 0” | Nos | 3 |  | 0
2 | NEW TEMPERED GLASS DOOR Supplying, fitting and fixing imported Frameless Tempered Glass Door having 10 mm thickness with all foreign made hardware of best quality available viz. Stainless steel handless concealed auto-closer, stopper, locking arrangement complete in all respect as per design, drawing and direction of Architect/Authority. Size : 2’- 6” W x 7’- 0” | Nos | 0 |  | 0
2 [A] | OLD TEMPERED GLASS DOOR Dismantling & Relocating old Tempered Glass Door from previous location to new location with all foreign made hardware of best quality available viz. Stainless steel handless concealed auto-closer, stopper, locking arrangement complete in all respect as per design, drawing and direction of Architect/Authority. Size : 3’- 0” W/2'-6" x 7’- 0” | Nos | 1 |  | 0
2 [A] | OLD FRAMLESS GLASS PARTITION Opening & Relocating old Glass partion from previous location to new location with all foreign made hardware of best quality available ALL arrangement complete in all respect as per design, drawing and direction of Architect/Authority. Size : 3’- 0” W/2'-6" x 7’- 0” | sft | 500 |  | 0
| NEW FRAMELESS GLASS PARTITION Supplying, fitting and fixing 10 mm thick clear float glass partition, upper and lower sides are fixed with 1” aluminum protector bit section, complete in all respect as per design, drawing and direction of Architect/Authority. | sft | 20 |  | 0
5 [A] | ALUMINUM SLIDING PARTITIONS Supplying, fitting and fixing of aluminum sliding windows/doors of 3” silver colored anodized aluminum section with all foreign made hardware of best quality available viz: handle, locks, wheels original bronze anodized star head matching screws, weather seal/ Mohair, rubber gasket, rivets, neoprene, sealant etc. in/c fitting and fixing of distortion free 5 mm thick clear float glass of approved quality and shade of foreign origin in/c fixing all necessary accessories etc., complete in all respect as per design, drawing and direction of Architect/Authority. | sft | 0 |  | 0
5 [B] | ALUMINUM LOUVER Supplying, fitting and fixing of aluminum louver screen to house outdoor AC units made of 4” section colored anodized / powder coated aluminum louver sections with all foreign made hardwires, sealant etc. in/c required scaffoldings etc. complete in all respect as per design, drawing and direction of Architect/Authority. (2 side of Server room & Others) | sft | 0 |  | 0
6 | ENGRAVED GYPSUM BOARD CEILING Supplying, fitting and fixing 10 mm thick approved quality Gypsum board false ceiling fixed over powder quoted T-bar & cross T of section 1”X 1½”, and L-angle of section 1” X 1” at edges, at 2’-0” X 2’-0” grid suspended from ceiling by 12 SWG double ply G.I. wire fixed to the ceiling by rowel plug, iron angles, screws, hooks, nails etc. maintaining straight lines and desired finished level at bottom face with vertical wooden strut as required in/c making holes in slabs, or beams by electric drill machine and mending good the damages, if any, during execution of the work in/c cost of all materials, accessories, scaffoldings, labor for installation, screws, nails, etc. complete in all respect as per design, drawing and direction of Architect/Authority. | Sft | 1700 |  | 0
7 | PLAIN GYPSUM / PARTEX BOARD DROP CEILING & PANELING Supplying, fitting and fixing false ceiling and paneling of ½” thick plain Gypsum board/Plain PARTEX board having maximum compressive pressure, suspended from existing R.C.C. ceiling of the building at a level of 8’-0” [or as per direction] height on a 2’-0” x 2’-0” grid frame work of C steel section/1½” x 2½” wooden section of best quality seasoned Garjan wood in/c anchoring the alternate junctions with 12 SWG double ply G.I. wire fixed to the ceiling by rowel plug, screws, hooks, nails etc. maintaining straight lines and desired finished level at bottom face with vertical wooden strut a required in/c making holes in slabs, or beams by electric drill machine & mending good the damages if any, during execution of the work in/c cost of all materials, accessories, scaffoldings, labour for installation, screws, nails, etc, making provisions for lighting arrangement, including painting with at least 3 coats of approved colour plastic paint over a coat of priming in/c necessary sanding, putty works etc. complete in all respect as per design, drawing and direction of Architect/Authority. | Sft | 200 |  | 0
16 | DECORATIVE DOUBLE PART WOODEN LOUVER (including top fix celing (if require), measurement- bottom view-length X width )Supplying, fitting and fixing decorative wooden louver ceiling made of f ½” thick veneer board, suspended from existing R.C.C. ceiling of the building at a level of 8’-0” [or as per direction] height on a 2’-0” x 2’-0” grid frame work of 1½” x 2½” wooden section of best quality seasoned Garjan wood in/c necessary hardware etc. complete in all respect as per design, drawing and direction of Architect/Authority. | sft | 20 |  | 0
19 | PARTEX FLUSH DOOR Supplying, fitting and fixing 1½” thick Garjan/Commercial Veneered ‘PARTEX’ Flush door in/c supplying and making of door frames of best quality and well seasoned Ctg. Shill Karai/Garjan of section 6” X 2” [5” wall flush] in/c painting two coats of Coaltar/Enamel paint to the surface in contract with wall, lock, hatch bolt (if require) & other accessory fitted and fixed in position by 6 nos. heavy type iron clamps and mending good the damages if any in/c fitting and fixing best quality 4 nos. 4” antique color iron hinges, 2 nos. best quality 6” aluminum tower & socket bolts [BTA], Alpha-Japan or equivalent mortise door lock, in/c applying 3 coats of approved color enamel paint of Berger brand over a coat of priming in/c cleaning, finishing and polishing with sand paper, putty works etc. complete in all respect as per design drawing and direction of Architect/Authority. [Door Size : 3’-0” x 7’-0”] | NOS | 0 |  | 0
20 | DOOR CLOSER Supply, fitting & fixing of imported door closer of approved quality ( New Star ) in position including all required accessories ensuring minimum injury to door shutter and frame etc.complete in all respect as per design, drawing and direction of Architect/Authority. | NOS | 0 |  | 0
Sub Total |  |  |  |  | 0
H. MISCELLANEOUS WORKS |  | Sft
1 | VENETIAN BLIND [Vertical] Supplying, fitting and fixing in position imported best quality 125 mm wide vertical blinds of approved color and quality with all imported accessories complete in all respect as per design, drawing & direction of Architect/Authority. | Sft | 100 |  | 0
2 | ROLLER BLINDS (hunter Douglas) : Supply, fitting & fixing of imported roller blinds to all external glass partitions including all necessary hardwire & accessories. All complete as per Bank standard and full satisfaction of the Engineering in charge & Consultant. | sft | 950 |  | 0
3 | SELF ADHESIVE FROSTED PAPER Supplying, fitting and fixing frosted paper on Main entry door and other glass surfaces after cutting logo and lettering with fine finish, complete in all respect as per design, drawing & direction of Architect/ Authority. | Sft | 500 |  | 0
4 | PVC DOOR MAT Supplying, fitting and fixing best quality imported PVC mat [Dust catcher] complete in all respect as per direction of Architect/Authority. | Sft | 100 |  | 0
Sub Total |  |  |  |  | 0
G. FURNITURE WORKS
1 | NEW DESIGN WORK STATION -IMPORTED (Open Workstation for 2 person (4' Lx 4' Wx 2'-6" H), having 1" thick Melamine Board top and 1" thick 2'x4' Melamine Board drop at one end supported by imported 3"x3" MS Box Leg of 16 swg thickness, internal bracings of 2"x1" MS box of 16 swg thickness, 4"x4" Cable Tray of 22 swg thick MS Sheet all having Duco Metal Paint of Approved Color, 1 nos 10mm Edge Polished Crystal Glass of 4'x1' size partition on table with frosted paper pasting and imported Glass Knob of approved design, 2nos 6"x3" Aluminum Cable Cap, 2 nos Key Board Tray, 2 Nos Drawer unit, 2 Nos Imported CPU Holder beneath the table, Perforated ACP Sheet Separator at leg level with proper hanging arrangement etc. All complete with necessary hardware and to be executed as per design, drawing and direction of Architect/Authority. | Nos | 1 |  | 0
2 | NEW DESIGN WORK STATION -IMPORTED (Open Workstation for 1 person (5' Lx 2.5' Wx 2'-6" H), having 1" thick Melamine Board top and 1" thick 2'x4' Melamine Board drop at one end supported by imported 3"x3" MS Box Leg of 16 swg thickness, internal bracings of 2"x1" MS box of 16 swg thickness, 4"x4" Cable Tray of 22 swg thick MS Sheet all having Duco Metal Paint of Approved Color, 1 nos 10mm Edge Polished Crystal Glass of 4'x1' size partition on table with frosted paper pasting and imported Glass Knob of approved design, 2nos 6"x3" Aluminum Cable Cap, 2 nos Key Board Tray, 2 Nos Drawer unit, 2 Nos Imported CPU Holder beneath the table, Perforated ACP Sheet Separator at leg level with proper hanging arrangement etc. All complete with necessary hardware and to be executed as per design, drawing and direction of Architect/Authority. | Nos | 1 |  | 0
3 | NEW TABLE TOP for B-Type Work Station (2' x 4') | Nos | 46 |  | 0
4 | NEW DRAWER UNIT upplying, fitting and fixing complete in all respect as per design drawing and direction of Architect/Authority. | Set | 46 |  | 0
5 | NEW FABRIC PARTITION WITH FRONT MIRROR for B type Work Station where necessarry as per approved sample with fabric and siver color aluminium section as per BBL call centre standard. Mirror size( 4'x 1'6" for each Table) | Sft | 1160 |  | 0
6 | KEY BOARD TRAY imported Black or Gray with Rail and accessories complete in all respect as per design, drawing and direction of Architect/Authority. | sft | 46 |  | 0
7 | FULL HEIGHT CABINET Supply, fitting & fixing of full height cabinet made of 3/4" Partex board and best quality hardware materials etc. complete in all respect as per design, drawing and direction of Architect/Authority. | sft | 150 |  | 0
8 | LOW HEIGHT CABINET Supply, fitting & fixing of low height cabinet made of 3/4" Textured PVC board and best quality hardware materials etc. complete in all respect as per design, drawing and direction of Architect/Authority. | sft | 25 |  | 0
9 | TABLE TOP FOR PANTRY Supply, fitting & fixing of low height cabinet made of 3/4" Textured PVC board and best quality hardware materials etc. complete in all respect as per design, drawing and direction of Architect/Authority. | sft | 14 |  | 0
10 | DISPLAY RACK FOR HEAD OF DIVISON (MADE OF GLASS & BOARD Complete in all respect as per design, drawing and direction of Architect/Authority. | Job | 1 |  | 0
11 | SOFA (2-SEATER) FOR Branch all Complete in all respect as per design, drawing and direction of Architect/Authority. |  | 2 |  | 0
12 | SOFA (1-SEATER) FOR Branch all Complete in all respect as per design, drawing and direction of Architect/Authority. | Nos | 2 |  | 0
13 | CENTER TABLE Complete in all respect as per design, drawing and direction of Architect/Authority. | Nos | 1 |  | 0
Sub Total |  |  |  |  | 0
H. IT & NETWORKING WORKS
2 | NETWORKING WORKS PVC Conducting, Data Phase Plate Single or Double, approved Brand Cat - 6 (Physical Specification: Weight: 25.6lbs/1000 ft (38.2 kg/km) Jacket thickness: 0.022 in (0.56mm) Outside diameter: 0.232 in (5.89mm) Gauge: 23 AWG Electrical Specification: NVP (fastest pair @ 10MHz) : 69% Maximum DC resistance: 7.61 ohms/ 100m ETL: CMR) data cable, Closed Rack, Patch {panel, Patch Cords, Wire Manager and labor charges for punching , dressing the rack, new rack size- 15 U etc complete in all respect as per design, drawing and direction of Architect/Authority.(Network port- 60 ) | Job | 1 | 0 | 0
NETWORK UPLINK CABLE (Sepal Tower 5th floor to Sepal Tower 4th floor) Cable : Rosenberger/ Systemax
Server Rack Brand: Kendall howard/Trip.lite/Toten (Original)
Server Rack Wire Manager: Panduit/ Systemax
Server Rack Patch Panel: Panduit/ Systemax
PDU: Totten/LE/JCNW/CE-yushicep
CAT-6 Cable brand: Systemax/Rosenberger
Sub Total |  |  |  |  | 0
GRAND TOTAL |  |  |  |  | 0