## Top sheet (hidden)
SL | COST HEADS | AMOUNT
1 | DISMANTLING & SITE PREPARATION | #REF!
2 | B. DOORS & PARTITIONS | #REF!
3 | ELECTRICAL WORKS | #REF!
4 | MISCELLANEOUS WORKS | #REF!
5 | BSSO/TM/ MC/ AM TABLE WITH SIDE TABLE & KEY BOARD TRAY | #REF!
6 | PARTITION FOR NEW TM, MC & AM TABL | #REF!
7 | OPEN DESK FOR OFFICER- 10 DESK | #REF!
8 | CABINET FOR TM, MC & AM TABLE | #REF!
9 | DRAWER UNIT FOR OPEN DESK- 2 NOS 4 PERSON | #REF!
10 | IT & NETWORKING WORKS | #REF!
| NET TOTAL | #REF!

## BOQ
SCHEDULE OF ITEM AND BILL OF QUANTITIES : SUPPLY OF TABLE & CABINET AT JIBON NAGAR SME
S.L | ITEMS | UOM | QTY | RATE | AMOUNT
A. CIVIL WORKS
1 | DISMANTLING/SITE PREPARATION [All necessary dismantling to complete the project] Dismantling some existing Brick works, CC works, RCC works, Plaster works, Mosaic works, Opening of some Doors/Windows/Shutters, Grills etc. as per direction of the Architect/Authority and removing the debris to a safe distance to be shown by the Authority from the site by the contractor at his own cost and responsibility. Proper care and precautions should be taken for the safety of the Building including its services [viz: Structural, Plumbing & Sanitary, Electrical, Computer Network etc.] during dismantling. | Job | 1 |  | 0
Sub Total |  |  |  |  | 0
B. ELECTRICAL WORKS
1 | Concealed conduit wiring for following points through looping at the socket/outlet of 5A/13A/15A including grooving/wall cutting, circuit wiring with BYA 1C-2X2.5 Sq.mm & BYA 1CX1.5 sq. mm green ECC through PVC conduit of good quality of minimum 3/4" dia complete with all fixing materials following the provided design. Cable brand: BRB/Paradise SOCKET brand: Legrand/MK brand |  |  |  | 0
1.1 | Socket point | Nos |  |  | 0
1.1.1 | 4nos - 3pin & 2nos -2pin through 1 circuit |  |  |  | 0
1.1.2 | 6nos - 3pin & 3nos -2pin through 1 circuit |  | 2 |  | 0
1.1.3 | 2nos - 3pin & 1nos -2pin through 1 circuit |  |  |  | 0
2 | MCCB/MCB: Supply and installation of following SP (240V grade) TP (500 V grade) MCB/MCCB in pre-installed distribution board in/c connection with cable, cable socket, nut bolts, PIB tape etc. complete in respect providing necessary consumable in/c testing & commissioning as per design, drawing and direction of Authority. brand : Legrand/ABB MCCB/MCB’s brand: Legrand/ABB |  |  |  | 0
2.1 | 6 A to 40 A SP MCB-6 kA | Nos | 2 |  | 0
Sub Total |  |  |  |  | 0
C. FURNITURE WORKS
| NEW DESIGN WORK STATION -IMPORTED (Open Workstation for 3 person (12''' Lx 2' Wx 2'-6" H), having 1" thick Melamine Board top and 1" thick 2'x4' Melamine Board drop at one end supported by imported 3"x3" MS Box Leg of 16 swg thickness, internal bracings of 2"x1" MS box of 16 swg thickness, 8"x4" Cable Tray of 22 swg thick MS Sheet all having Duco Metal Paint of Approved Color, 3 nos 10mm Edge 4'x1' size board partition on table with imported Glass Knob of approved design, 3 nos 6"x3" Aluminum Cable Cap,3 nos Key Board Tray, 3 Nos Drawer unit, 3 Nos Imported CPU Holder beneath the table, Perforated ACP Sheet Separator at leg level with proper hanging arrangement etc. All complete with necessary hardware and to be executed as per design, drawing and direction of Architect/Authority. | Set | 2 |  | 0
5 | LOW HEIGHT/OVER HEAD CABINET Supply, fitting & fixing of low height cabinet made of 3/4" Partex board and best quality hardware materials etc. complete in all respect as per design, drawing and direction of Architect/Authority. 80 SFT OVER HEAD CABINET | Sft | 24 |  | 0
Sub Total |  |  |  |  | 0
D. IT & NETWORKING WORKS
1 | New net connection from existing rack to desk (all complete)-Brand for wire manager, cable, modulor, conector, face plate & patch cord -----Panduit/Systemax/AMP | NOS | 6 |  | 0
2 | Existing NETWORK reuse (All Complete- Opening & reinstallation with necessary new material) | NOS |  |  | 0
Sub Total |  |  |  |  | 0
|  |  | Grand Total: |  | 0

## Summary
SCHEDULE OF ITEM AND BILL OF QUANTITIES : SUPPLY OF TABLE & CABINET AT JIBON NAGAR SME
SL | COST HEADS | AMOUNT
PHASE-01
1 | CIVIL WORKS | 0
2 | ELECTRICAL WORKS | 0
3 | FURNITURE WORKS (NUMBER OF DESK-38) | 0
4 | NETWORKING WORKS (NEW-08 & 30 NOS EXISTING PORT REUSE) | 0
| SUB TOTAL | 0