## Summary
SCHEDULE OF ITEM AND BILL OF QUANTITIES : INTERIOR FIT OUT WORKS AT KAROTIA SUB BRANCH
DESCRIPTION | AMOUNT
A. CIVIL WORKS | 0
B. MS/SS/ACP WORKS | 0
C. PAINT WORKS | 0
D. TILE/MARBLE & FLOOR FINISH WORKS | 0
E. PLUMBING & SANITARY WORKS | 0
F. ELECTRICAL WORKS | 0
G. DOORS & PARTITIONS | 0
H. MISCELLANEOUS WORKS | 0
I. FURNITURE WORKS | 0
J. IT & NETWORKING WORKS | 0
GRAND TOTAL | 0

## BOQ
SCHEDULE OF ITEM AND BILL OF QUANTITIES : INTERIOR FIT OUT WORKS AT KAROTIA SUB BRANCH
S.L | ITEMS | UOM | QTY | RATE | AMOUNT
A. CIVIL WORKS
1 | DISMANTLING [All necessary dismantling to complete the project; Dismantling some existing Brick works, CC works, RCC works, Plaster works, Mosaic works, Opening of some Doors/Windows/Shutters, Grills etc. as per direction of the Architect/Authority and removing the debris to a safe distance to be shown by the Authority from the site by the contractor at his own cost and responsibility. Proper care and precautions should be taken for the safety of the Building including its services [viz: Structural, Plumbing & Sanitary, Electrical, Computer Network etc.] during dismantling. | JOB | 1 |  | 0
2 | 5” THICK BRICK WORK Brick work with 1st class bricks of one brick width [±5”] in cement mortar (1:4) in exterior or interior walls in/c filling the interstices with mortar, racking out joints cleaning and soaking the bricks at least for 24 hours before use and necessary scaffolding, curing at least for 7 days etc. complete in all respect as per design drawing and direction of Architect/ Authority. | SFT | 500 |  | 0
3 | 10” THICK BRICK WORK Brick work with 1st class bricks of one brick width [±10”] in cement mortar (1:4) in exterior or interior walls in/c filling the interstices with mortar, racking out joints cleaning and soaking the bricks at least for 24 hours before use and necessary scaffolding, curing at least for 7 days etc. complete in all respect as per design drawing and direction of Architect/ Authority. | SFT | 0 |  | 0
4(A) | R.C.C WORK [LINTEL/SLAB/WALL] Reinforced cement concrete works (1:2:4) having minimum crushing strength 18 Mpa (cylinder) at 28 days with cement, best quality coarse sand [50% quantity of best local sand (F.M.-1.5) and 50% quantity of Sylhet sand or coarse sand of equivalent (F.M.- 2.5)] picked jhama chips including breaking chips and screening, centering, shuttering, supplying polythene sheet for making shuttering leak proof, placing of rod in position, mixing the aggregates, casting in forms, compacting & curing for 15 days if possible including the cost of reinforcement and its fabrication as per design drawing and direction of Architect/Authority. | CFT | 15 |  | 0
4(B) | R.C.C WORK [Vault / Locker] Reinforced cement concrete works (1:2:4) having minimum crushing strength 18 Mpa (cylinder) at 28 days with cement, best quality coarse sand [50% quantity of best local sand (F.M.-1.5) and 50% quantity of Sylhet sand or coarse sand of equivalent (F.M.- 2.5)] Stone Chips including screening, centering, shuttering, supplying polythene sheet for making shuttering leak proof, placing of rod in position, mixing the aggregates, casting in forms, compacting & curing for 15 days if possible including the cost of reinforcement and its fabrication as per design drawing and direction of Architect/Authority. (Including vault room structural Certificate by Civil Engineer.) | CFT | 175 |  | 0
5 | C.C WORK [Cemet concrete works] (1:2:4) with cement, best quality coarse sand [50% quantity of best local sand (F.M.-1.5) and 50% quantity of Sylhet sand or coarse sand of equivalent (F.M.- 2.5)] Stone Chips including screening, centering, shuttering, supplying polythene sheet, mixing the aggregates, casting in forms, compacting & curing for 15 days if possible including the cost of reinforcement and its fabrication as per design drawing and direction of Architect/Authority. | CFT | 30 |  | 0
6 | FLOOR CHIPPING Chipping and cleaning the floor before patent stone casting and mosaic work or other finishing materials used. The chipping must be smoothly with sharpen chisel and clean all sand cement and other debris to a suitable place out side of site etc.complete in all respect as per design drawing and direction of Architect/ Authority. | SFT | 0 |  | 0
7 | PATENT STONE Artificial stone flooring work, at all heights, 38 mm thick in 1:2:4 using 50% coarse sand (Min F .M. 2.5) 50% medium sand of Minimum F .M. 1.5 as fine aggregate and 1/2" down graded brick chips as coarse aggregate including breaking the bricks into chips, screening and washing of chips and sand, compacting, conveying, placing the concrete, curing for at least 7 (seven) days etc.complete in all respect as per design drawing and direction of Architect/ Authority. | SFT | 0 |  | 0
8 | NEAT CEMENT FINISH Neat Cement Finishing Work simultaneously done on Patent stone/concrete surface using cement screened through fine cloth in the form of cement slurry, rubbing smooth with steel trowel, scaffolding, curing for 10 days etc. complete in all respect as per design drawing and direction of Architect/ Authority. | SFT | 0 |  | 0
9 (A) | CEMENT PLASTER Minimum 1/2” thick cement plaster [1:5] to vault ceiling & wall finishing the corners and edges in/c cleaning the surface, scaffolding and curing at least for 7 days etc. complete in all respect as per design drawing and direction of Architect/Authority. | SFT | 550 |  | 0
9 (B) | CEMENT PLASTER Minimum 3/4” thick cement plaster [1:5] to wall both inner and outer surface, finishing the corners and edges in/c cleaning the surface, scaffolding and curing at least for 7 days etc. complete in all respect as per design drawing and direction of Architect/Authority. | SFT | 800 |  | 0
Sub Total |  |  |  |  | 0
B. MS/SS/ACP WORKS
1 | Collapsible Gate Supply, fitting & fixing collapsible gate with approved thickness and quality including locking arrangement and paint finish etc. complete in all respect as per design drawing and direction of Architect/ Authority. | SFT | 42 |  | 0
2 | ROLLING SHUTTER Supply, fitting & fixing steel rolling shutter made of strips imported G.P. sheet of approved thickness and quality including locking arrangement and paint finish etc. complete in all respect as per design drawing and direction of Architect/ Authority. | SFT | 50 |  | 0
3 | Emergency / Fire Exit Door (Hollow Metal) with security lock & 2 nos hatch bolt inside.as per design drawing and direction of Architect/ Authority. | NOS | 0 |  | 0
4 | MS WINDOW/ Boundary GRILL Supplying, fitting and fixing window grill made by 1/2” x 1/2” solid MS square bar placed 4” C/C horizontally and 1’-0” to 1’-6” C/C vertically, properly fabricated and welded, after every 10' vertical post , clamped within the masonry opening, in/c cutting holes for fixing etc. painting 3 coats with approved color synthetic enamel paint of “Berger” brand over a coat of anticorrosive painting in/c. cleaning, finishing, grinding putty works etc. complete in all respect as per design, drawing and direction of Architect/ Authority. | SFT | 300 |  | 0
5 | ACP Skirting Works 4" ACP Skirting should be fitted to all Dry Wall and Decorative Paneling by boards | RFT | 100 |  | 0
Sub Total |  |  |  |  | 0
C. PAINT WORKS
1 | PLASTIC PAINT Plastic painting of ‘Berger’ brand of approved color to wall minimum 3 coats with lime putty work, cleaning, sand papering the surfaces in/c. necessary scaffolding etc. complete in all respect as per direction of Architect/ Authority. | SFT | 3000 |  | 0
2 | ENAMEL PAINT Synthetic Enamel paint of ‘Berger’ brand of approved color to wall, ceiling, wooden surfaces, iron grills, shutters etc. minimum 2 coats over a coat of priming including cleaning, finishing and polishing with sand paper and necessary scaffolding etc. complete in all respect as per direction of Architect/Authority. | SFT | 200 |  | 0
Sub Total |  |  |  |  | 0
D. TILE/MARBLE & FLOOR FINISH WORKS
1 | MIRROR POLISHED HOMOGENEOUS FLOOR TILE [BRAND - RAK / CHARU / EQUIVALENT] Supplying, fitting and fixing homogeneous floor tiles [Imported] of 24" x 24" size and quality on 20 mm thick cement mortar (1:2) base or by ‘CONMIX’ base and raking out the joints with white cement and colored pigment including cutting by electric disk cutter and laying tiles in proper way in/c chipping or dismantling of existing floor if necessary and finishing with care etc., complete in all respect as per design drawing and direction of Architect/Authority. [PREFARABLE - CHARU 6650/6680/6684] | SFT | 800 |  | 0
2 | HOMOGENEOUS FLOOR TILE [LOCAL] Supplying, fitting and fixing homogeneous floor tiles [LOCAL] of 12" x 12"/16" x16" size and quality on 20 mm thick cement mortar (1:2) base or by ‘CONMIX’ base and raking out the joints with white cement and colored pigment including cutting by electric disk cutter and laying tiles in proper way in/c chipping or dismantling of existing floor if necessary and finishing with care etc., complete in all respect as per design drawing and direction of Architect/Authority. | SFT | 300 |  | 0
3 | STAIR STEP TILE [LOCAL] Supplying, fitting and fixing homogenous stair step tile [LOCAL] of 12" x 12" size & quality on at least ¾” thick cement mortar (1:2) base or by ‘CONMIX’ base and raking out the joints with white cement and colored pigment including cutting by electric disk cutter and laying tiles in proper way and finishing with care etc. complete in all respect as per design drawing and direction of Architect/Authority. | SFT | 0 |  | 0
4 | CERAMIC WALL TILE [local] Supplying, fitting and fixing colored glazed wall tiles [Spanish] of approved size & quality on 20 mm thick cement mortar [1:2] base and raking out the joints with white cement including cutting and laying the tiles in proper way and finishing with care etc. complete in all respect as per design drawing and direction of Architect/ Authority. [PREFERABLE - Akij (A-504LBE)] | SFT | 350 |  | 0
5 | PAVEMENT TILES WORKS Machine made pavement tiles/block made by Mirpur Ceramic/Concord/Unik/Others of approved quality and color on minimum 20 mm thick cement sand mortar [1:3] in/c raking out joints, cutting the blocks to required size wherever necessary, soaking the same 24 hours before use in/c high class pointing in cement mortar [1:2], cleaning, curing at least 7 days etc. complete in al respect as per design drawing and direction of Architect/Authority. | SFT | 0 |  | 0
6 | GRANITE & MARBLE WORKS Supplying, fitting and fixing following stone on walls/columns over minimum 18 mm thick cement mortar [1:2] in/c cutting, grinding and polishing the stones, setting in position keeping horizontal & Vertical alignment correct, filling the joints with same color putty, making grooves, finishing with care, etc. complete in all respect as per design, drawing & direction of Architect/ Authority. Note: [1] Quality, color & texture of Granite stone must be approved before fixing [2] There may be combination of shades for claded materials. |  |  |  | 0
[A] | 18/20 mm Marble [required size] / IMPORTED | SFT | 0 |  | 0
Sub Total |  |  |  |  | 0
E. PLUMBING & SANITARY WORKS
1 | COMMODE SET Supplying, fitting and fixing foreign made approved colored combi commode in/c all if its original fittings viz. flushing arrangements, seat cover fixing screws/bolts, preparing the base of commode with cement concrete and with wire net or rods, if necessary, in/c making holes wherever required and mending good the damages and fitting, fixing complete with all necessary fittings and connection as per design, drawing and direction of Architect/Authority. [Charu/RAK/Victory/Huida; PREFERABLE - Charu CM 15] | SET | 2 |  | 0
2 | CABINET/PEDESTAL BASIN Supplying, fitting and fixing Foreign made approved colored glazed vitreous Basin [Pedestal/Cabinet type] in/c fitting, fixing the same in position with heavy type C.I. brackets, in/c fitting and fixing all necessary fittings, chain plug in/c making holes in walls and floors, mending good the damages etc., complete in all respect as per design drawing and direction of Architect/Authority. [Charu/RAK/Victory/Huida; PREFERABLE - Charu CM 130] | SET | 3 |  | 0
3 | REQUIRED PLUMBING AND SANITARY WORKS Necessary plumbing and sanitary works [internal and external, if required] including water, soil, waste water pipe of approved quality and specifications complete in all respect as per design drawing and direction of Architect/Authority. | JOB | 1 |  | 0
4 | STAINLESS STEEL SINK Supplying, fitting and fixing best quality foreign made stainless steel kitchen sink of 20” X 40” size [single bowl single tray] fixing the same on R.C.C tiled counter with heavy type C.I brackets 30 mm dia PVC waste water pipe with brass coupling in/c fitting and fixing the sink waste in/c making holes in walls and floors and fitting with rowel plugs, screws and mending good the damages etc. complete in all respect as per design, drawing and direction of Architect/Authority. | SET | 1 |  | 0
5 | MISCELLANEOUS TOILET FITTINGS [Local / Foreign made] Supplying, fitting and fixing best quality local / foreign made following items of approved brand [‘Nazma’-Local / Approved - Foreign] in/c making holes in walls by Electric Hammer Drill Machine, in/c Supplying, fitting and fixing clamps, rowel plugs and screws of appropriate size, other necessary consumables in/c making holes in walls and floors [where necessary] and mending good the damages etc., complete in all respect as per design, drawing and direction of Architect/Authority. | JOB |  |  | 0
[A] | TOWEL RAIL [Local] Best quality available C.P. towel rail of 600 mm X 20 mm size with C.P. holder, screws etc. | NOS | 4 |  | 0
[B] | ANGLE STOP COCK [Foreign] Best quality available 12mm heavy type C.P concealed angle stop cock. | NOS | 8 |  | 0
[C] | 2 IN 1 BIB COCK [Local] Best quality available heavy type 12 mm C.P concealed bib cock. | NOS | 0 |  | 0
[D] | PILLAR COCK [Local] Best quality available heavy type 12 mm C.P pillar cock. | NOS | 3 |  | 0
[E] | BIB COCK [Local] Best quality available heavy type 12 mm C.P concealed bib cock. | NOS | 2 |  | 0
[F] | SINK COCK [Local] Best quality available heavy type 12 mm C.P concealed moving sink cock. | NOS | 1 |  | 0
[G] | HAND SHOWER [Foreign] Supplying, fitting and fixing best quality local made hand shower approved quality complete in all respect as per design, drawing and direction of Architect/Authority. | NOS | 2 |  | 0
[H] | BOTTLE TRAP [Local] Best quality available heavy type C.P bottle trap. | NOS | 3 |  | 0
[I] | SOAP TRAY [Local] Best quality available C.P Soap tray of standard size in/c all fittings etc. | NOS | 3 |  | 0
[J] | CONNECTION PIPE [Foreign] Best quality available 12 mm dia plastic connection pipe of required length with brass coupling at both end. | NOS | 5 |  | 0
[K] | PAPER HOLDER [Local] Best quality available heavy type C.P. paper holder in/c one roll of paper. | NOS | 3 |  | 0
[L] | FLOOR GRATING [Foreign] Best quality available stainless steel made square type floor grating in traps or in drains. | NOS | 3 |  | 0
[M] | GATE VALVE [ITAP brand, Pedrollo] Supplying, fitting & fixing best quality Italian made ‘ITAP’ brand ½” dia gate valve complete in all respect as per design, drawing and direction of Architect/Authority. | NOS | 1 |  | 0
[N] | BASIN MIRROR [Foreign] Supplying, fitting and fixing best quality mirror made by float glass on wall fixed by approved type glass holder complete in all respect as per design, drawing and direction of Architect/Authority. | SFT | 18 |  | 0
[O] | LIQUID SOAP CASE Supply, fitting & fixing of Liquid soap case ( Imported) of approved color with necessary hardware etc. all complete as per full satisfaction of the Brac Bank Consultant. . | NOS | 4 |  | 0
[P] | URINAL Supply, fitting & fixing of urinal set ( Local ) of approved color with other fittings etc. complete in all respect as per design drawing and direction of Architect/ Authority. | NOS | 0 |  | 0
[Q] | COAT HANGER Supply, fitting & fixing of COAT HANGER ( Imported) of approved color with necessary hardware etc.complete in all respect as per design drawing and direction of Architect/ Authority. | NOS | 2 |  | 0
Sub Total |  |  |  |  | 0
F. ELECTRICAL WORKS
0 | Emergency light (Rechargeable ) | NOS | 0 |  | 0
1 | Concealed/exposed conduit wiring for following light points including louver shade/PL shade & light/Tube light & its components with looping at the gang (1G/2G/3G/4G as required) switch including grooving/wall cutting, circuit wiring (circuit breaker to Switch) with BYA 1C-2X2.5 Sq.mm, BYA 1C-2X1.5 sq. mm (switch to light) for light wiring & BYA1CX1.0 sq. mm green ECC through PVC conduit of good quality of minimum 3/4" dia complete with all fixing materials following the provided design. Cable brand: BRB/Paradise GANG SWITCHES brand: Legrand/MK brand Light brand :EnegryPac/Philips/Transtec Light Type : LED (13 W)
1.1 | Louver shade light point | NOS
1.2 | PL light point
1.2.1 | 1 light though 1 switch |  | 5 |  | 0 | 5
1.2.2 | 2 light though 1 switch |  | 7 |  | 0 | 14
1.2.3 | 3 light though 1 switch |  | 12 |  | 0 | 36 | 55
1.3 | Tube light |  |  |  | 0
1.3.1 | 01 no. tube light through 1 switch |  | 2 |  | 0
1.3.2 | 02 nos tube light through 1 switch |  | 1 |  | 0
1.3.3 | 03 nos tube light through 1 switch |  | 3 |  | 0
1.3.4 | 04 nos tube light through 1 switch |  | 0 |  | 0
2 | Concealed/exposed conduit wiring for following points looping at the gang (1G/2G/3G/4G as required) switch including grooving/wall cutting, circuit wiring (CB to Switch) with BYA 1C-2X2.5 Sq.mm, BYA 1C-2X2.5 Sq.mm (switch to fan) & BYA 1CX1.5 sq. mm green ECC through PVC conduit of good quality of minimum 3/4" dia complete with all fixing materials following the provided design. Cable brand: BRB/Paradise GANG SWITCHES brand: Legrand/MK brand | NOS |  |  | 0
2.1 | Exhaust Fan point with exhaust fan (all complete) | NOS | 5 |  | 0
2.2 | Ceiling fan point |  | 0 |  | 0
2.3 | Wall fan point |  |  |  | 0
3 | Concealed conduit wiring for following points through looping at the socket/outlet of 5A/13A/15A including grooving/wall cutting, circuit wiring with BYA 1C-2X2.5 Sq.mm & BYA 1CX1.5 sq. mm green ECC through PVC conduit of good quality of minimum 3/4" dia complete with all fixing materials following the provided design. Cable brand: BRB/Paradise SOCKET brand: Legrand/MK brand |  |  |  | 0
3.1 | Socket point | NOS |  |  | 0
3.1.1 | 4nos - 3pin & 2nos -2pin through 1 circuit |  | 4 |  | 0
3.1.2 | 6nos - 3pin & 3nos -2pin through 1 circuit |  | 0 |  | 0
3.1.3 | 2nos - 3pin & 1nos -2pin through 1 circuit |  | 8 |  | 0
3.1.4 | 1nos - Multi Socket through 1 circuit |  | 3 |  | 0
3.1.5 | DP switch for signage |  | 2 |  | 0
3.3 | 3-pin round socket point |  |  |  | 0
4 | Concealed/exposed conduit wiring for following AC points from DB to AC outdoor unit including circuit wiring with BYA 1C- 4 Sq.mm & BYA 1CX1.5 sq. mm green ECC through PVC conduit of good quality of minimum 3/4" dia complete with all fixing materials following the provided design. Cable brand: BRB/Paradise |  |  |  | 0
4.1 | Single phase AC | NOS | 1 |  | 0
4.2 | Three phase AC |  | 2 |  | 0
5 | Concealed/exposed conduit telephone cable laying for following points including grooving/wall cutting, telephone socket of Legrand brand with telephone cable from PABX machine to each loaction through PVC conduit of good quality of minimum 3/4" dia complete with all fixing materials following the provided design/supervisor's instruction. Cable brand: BRB/Paradise SOCKET brand: Legrand/MK brand |  |  |  | 0
5.1 | 1-pair telephone point | NOS | 0 |  | 0
5.2 | 2-pair telephone point | NOS | 2 |  | 0
6 | MCCB/MCB: Supply and installation of following SP (240V grade) TP (500 V grade) MCB/MCCB in pre installed distribution board in/c connection with cable, cable socket, nut bolts, PIB tape etc. complete in respect providing necessary consumable in/c testing & commissioning as per design, drawing and direction of Authority. brand : Legrand/ABB MCCB/MCB’s brand: Legrand/ABB |  |  |  | 0
6.1 | 6 A to 40 A SP MCB-6 kA | NOS | 16 |  | 0
6.2 | 50 A to 63 A SP MCB-6 kA |  | 0 |  | 0
6.3 | 6 A to 40 A TP MCB-6 kA |  | 2 |  | 0
6.4 | 50 A to 63 A TP MCB-6 kA |  | 0 |  | 0
6.5 | 16 A to 100 A MCCB (TP) - Adjustable - 16kA |  | 0 |  | 0
6.6 | 100 A MCCB (TP)-Adustable-16 kA |  | 1 |  | 0
6.7 | Manual Change over Switch 160 A Brand: Havells or equivalent |  |  |  | 0
6.8 | 160 A MCCB (TP)-Adustable-36 kA |  | 0 |  | 0
7 | CABLES WORKS: Supply and installation of following cables through required size PVC pipe with all consumable materials as per design, drawing and direction of Authority. Brand : BRB/Paradise |  |  |  | 0
7.1 | 1CX10 rm BYA for earthing | FEET | 0 |  | 0
7.2 | 1CX6 rm BYA for earthing |  | 100 |  | 0
7.3 | 1CX6 rm BYA for ATM |  | 0 |  | 0
7.4 | 1CX10 rm NYY |  | 400 |  | 0
7.4 | 1CX16 rm NYY |  |  |  | 0
7.5 | 1CX25 rm NYY |  | 0 |  | 0
8 | DISTRIBUTION BOARD Supply and installation of following distribution boards [At least 2’ - 0” W x 3’ - 0” H, 6 Sft] or specified in drawing of required size made by 18 SWG B.P. sheet metal enclosed with double cover powder coated painted on outside and enamel paint on inside on rust proof prime coat with hinged front door with handle, lock & key arrangement for concealed/half concealed mounted board having knock out for conduit entry and exit for 415/230V TPN/SPN operations. The board shall have solid three phase, neutral and earth copper bus bar . MCCB/MCB’s are to be so arranged as to keep the knobs projected over the inside ebonite cover. There should be provision for fixing Air-Cooler circuit breakers and emergency circuit breakers as per requirement. The work shall be complete in all respect providing necessary consumable in/c testing & commissioning, as per design, drawing and direction of Authority. Note: 1. Layout design of Distribution Board as per design must be attached inside the boards and there should be marking of all circuit breakers. |  |  |  | 0
8.1 | MDB(Busbar rating of 400A) | NOS | 1 |  | 0
8.2 | EDB(Busbar rating of 300A) | NOS | 0 |  | 0
8.3 | SDB/ESDB(Busbar rating of 250A) | NOS | 0 |  | 0
8.4 | SDB/ESDB(Busbar rating of 100A) - ATM | NOS | 0 |  | 0
9 | Digital 3 pahse Meter | NOS | 0 |  | 0
10 | EARTHLING SYSTEM Supplying and installation of 100’-0” depth 1½” dia G.I. pipe earth electrode by tube well sinking method including supply of 2 SWG HDBC earthling lead from the bottom of earth electrode to the earthling bar of distribution board. Making an earth inspection pit of size 20” x 20” x 18” inside clear. Bottom of pit shall be 3” thick C.C. work and four side wall shall be 5” thick brick wall with ½” plastering and 3” thick R.C.C. cover slab. The top end of the electrode shall be 3” above from the bottom C.C. work. Complete in all respect in/c testing & commissioning, as per design, drawing and direction of Authority. Note: 1. Voltage between neutral and earth [Inductive voltage] must be less than 2 volt. 2.The total arrangement must be theft proof as per site condition. | SET | 1 |  | 0
Sub Total |  |  |  |  | 0
G. DOORS & PARTITIONS
1 | TEMPERED GLASS DOOR Supplying, fitting and fixing imported Frameless Tempered Glass Door having 10 mm thickness with all foreign made hardware of best quality available viz. Stainless steel handless concealed auto-closer, stopper, locking arrangement complete in all respect as per design, drawing and direction of Architect/Authority. Size : 3’- 0” W x 7’- 0” | NOS | 2 |  | 0
1 [A] | TEMPERED GLASS DOOR Supplying, fitting and fixing imported Frameless Tempered Glass Door having 10 mm thickness with all foreign made hardware of best quality available viz. Stainless steel handless concealed auto-closer, stopper, locking arrangement complete in all respect as per design, drawing and direction of Architect/Authority. Size : 2’- 6” W x 7’- 0” | NOS | 0 |  | 0
2 | FRAMELESS GLASS PARTITION Supplying, fitting and fixing 10 mm thick clear float glass partition, upper and lower sides are fixed with 1” aluminum protector bit section, complete in all respect as per design, drawing and direction of Architect/Authority. | SFT | 0 |  | 0
4 [A] | ALUMINUM SLIDING PARTITIONS Supplying, fitting and fixing of aluminum sliding windows/doors of 3” silver colored anodized aluminum section with all foreign made hardware of best quality available viz: handle, locks, wheels original bronze anodized star head matching screws, weather seal/ Mohair, rubber gasket, rivets, neoprene, sealant etc. in/c fitting and fixing of distortion free 5 mm thick clear float glass of approved quality and shade of foreign origin in/c fixing all necessary accessories etc., complete in all respect as per design, drawing and direction of Architect/Authority. | SFT | 0 |  | 0
4 [B] | ALUMINUM LOUVER Supplying, fitting and fixing of aluminum louver screen to house outdoor AC units made of 4” section colored anodized / powder coated aluminum louver sections with all foreign made hardwires, sealant etc. in/c required scaffoldings etc. complete in all respect as per design, drawing and direction of Architect/Authority. | SFT | 8 |  | 0
5 | ENGRAVED GYPSUM BOARD CEILING Supplying, fitting and fixing 10 mm thick approved quality Gypsum board false ceiling fixed over powder quoted T-bar & cross T of section 1”X 1½”, and L-angle of section 1” X 1” at edges, at 2’-0” X 2’-0” grid suspended from ceiling by 12 SWG double ply G.I. wire fixed to the ceiling by rowel plug, iron angles, screws, hooks, nails etc. maintaining straight lines and desired finished level at bottom face with vertical wooden strut as required in/c making holes in slabs, or beams by electric drill machine and mending good the damages, if any, during execution of the work in/c cost of all materials, accessories, scaffoldings, labor for installation, screws, nails, etc. complete in all respect as per design, drawing and direction of Architect/Authority. | SFT | 950 |  | 0
6 | PLAIN GYPSUM / PARTEX BOARD DROP CEILING & PANELING Supplying, fitting and fixing false ceiling and paneling of ½” thick plain Gypsum board/Plain PARTEX board having maximum compressive pressure, suspended from existing R.C.C. ceiling of the building at a level of 8’-0” [or as per direction] height on a 2’-0” x 2’-0” grid frame work of C steel section/1½” x 2½” wooden section of best quality seasoned Garjan wood in/c anchoring the alternate junctions with 12 SWG double ply G.I. wire fixed to the ceiling by rowel plug, screws, hooks, nails etc. maintaining straight lines and desired finished level at bottom face with vertical wooden strut a required in/c making holes in slabs, or beams by electric drill machine & mending good the damages if any, during execution of the work in/c cost of all materials, accessories, scaffoldings, labour for installation, screws, nails, etc, making provisions for lighting arrangement, including painting with at least 3 coats of approved colour plastic paint over a coat of priming in/c necessary sanding, putty works etc. complete in all respect as per design, drawing and direction of Architect/Authority. | SFT | 150 |  | 0
7 [A] | WALL CLADDING: Coconut board paneling (Cash ) | SFT | 128 |  | 0
7 [B] | COLUMN/WALL CLADDING: with rastic Tiles | SFT | 0 |  | 0
8 | PARTEX FLUSH DOOR Supplying, fitting and fixing 1½” thick Garjan/Commercial Veneered ‘PARTEX’ Flush door in/c supplying and making of door frames of best quality and well seasoned Ctg. Shill Karai/Garjan of section 6” X 2” [5” wall flush] in/c painting two coats of Coaltar/Enamel paint to the surface in contract with wall, lock & other accessory fitted and fixed in position by 6 nos. heavy type iron clamps and mending good the damages if any in/c fitting and fixing best quality 4 nos. 4” antique color iron hinges, 2 nos. best quality 6” aluminum tower & socket bolts [BTA], Alpha-Japan or equivalent mortise door lock, in/c applying 3 coats of approved color enamel paint of Berger brand over a coat of priming in/c cleaning, finishing and polishing with sand paper, putty works etc. complete in all respect as per design drawing and direction of Architect/Authority. [Door Size : 3’-0” x 7’-0”] | NOS | 7 |  | 0
9 | SERVER ROOM DOOR WITH LOUVER & ACCESSORIES made by two layer of 18 mm Gypsum board; incorporating louver to ensure air circulation to the server room; complete in all respect with paint & accessories [must have lock & handle]; size will be as per site feasibility [please see layout to understand] | NOS | 1 |  | 0
10 | DOOR CLOSER Supply, fitting & fixing of imported door closer of approved quality (New Star) in position including all required accessories ensuring minimum injury to door shutter and frame etc.complete in all respect as per design, drawing and direction of Architect/Authority. | NOS | 1 |  | 0
11 | SOLID PARTITION (Measurement like bricks wall Length X Width) Supply, fitting & fixing full height partition made of 10 mm gypsum board fixed over framing by 'C' section channel of 16 SWG galvanized sheet including best quality hardware materials etc. complete in all respect as per design, drawing and direction of Architect/Authority. | SFT | 300 |  | 0
Sub Total |  |  |  |  | 0
H. MISCELLANEOUS WORKS
1 | VENETIAN BLIND [Vertical] Supplying, fitting and fixing in position imported best quality 125 mm wide vertical blinds of approved color and quality with all imported accessories complete in all respect as per design, drawing & direction of Architect/Authority. | SFT | 0 |  | 0
2 | SELF ADHESIVE FROSTED PAPER Supplying, fitting and fixing frosted paper on Main entry door and other glass surfaces after cutting logo and lettering with fine finish, complete in all respect as per design, drawing & direction of Architect/ Authority. | SFT | 60 |  | 0
3 | PVC DOOR MAT Supplying, fitting and fixing best quality imported PVC mat [Dust catcher] complete in all respect as per direction of Architect/Authority. | SFT | 30 |  | 0
Sub Total |  |  |  |  | 0
I. FURNITURE WORKS
1 | TELLER & BILLING COUNTER Complete in all respect as per design, drawing and direction of Architect/Authority. | RFT | 12 |  | 0
2 | SUB BRANCH IN CHARGE [LIKE PB INCHARGE- MS IMPORTED FRAME] TABLE including drawer unit and Side table, Key board tray complete in all respect as per design, drawing and direction of Architect/Authority. | NOS | 1 |  | 0
3 | BSSO TABLE [2'-6" X 4'-6"] table including CPU arrangement facility attached with drawer unit & Key board tray complete in all respect as per design, drawing and direction of Architect/Authority. | NOS | 0 |  | 0
3 | BRO TABLE [2'-6" X 4'-0"] table including drawer unit & Key board tray complete in all respect as per design, drawing and direction of Architect/Authority. (Like HT table) | NOS | 0 |  | 0
4 | Partion for BSSO table where necessarry as per approved sample with thai section | SFT | 22 |  | 0
5 | NEW DESIGN WORK STATION -IMPORTED (Open Workstation for 6 person ( Size: 10'-6' Lx 4' Wx 2'-6" H), having 1" thick Melamine Board top & supported by imported 3"x3" MS Box Leg of 16 swg thickness, internal bracings of 2"x1" MS box of 16 swg thickness, 8"x4" Cable Tray of 22 swg thick MS Sheet all having Duco Metal Paint of Approved Color, 4 nos 12mm board partition on table and imported Knob of approved design, necessary Aluminum Cable Cap, 4 nos Key Board Tray, 4 Nos Drawer unit, beneath the table, Perforated ACP Sheet Separator at leg level with proper hanging arrangement etc. All complete with necessary hardware and to be executed as per design, drawing and direction of Architect/Authority. | SET | 0 |  | 0
5 | NEW DESIGN WORK STATION -IMPORTED (Open Workstation for 2 person (Size: 7'-6' Lx 2' Wx 2'-6" H), having 1" thick Melamine Board top & supported by imported 3"x3" MS Box Leg of 16 swg thickness, internal bracings of 2"x1" MS box of 16 swg thickness, 8"x4" Cable Tray of 22 swg thick MS Sheet all having Duco Metal Paint of Approved Color, 2 nos 12mm board partition on table and imported Knob of approved design, necessary Aluminum Cable Cap, 2 nos Wooden Key Board Tray, Perforated ACP Sheet Separator at leg level with proper hanging arrangement etc. All complete with necessary hardware and to be executed as per design, drawing and direction of Architect/Authority. EXCLUDING DRAWER UNIT | SET | 0 |  | 0
6 | NEW DESIGN WORK STATION -IMPORTED (Open Workstation for 4 person ( Size: 7'-0"' Lx 4' Wx 2'-6" H), having 1" thick Melamine Board top & supported by imported 3"x3" MS Box Leg of 16 swg thickness, internal bracings of 2"x1" MS box of 16 swg thickness, 8"x4" Cable Tray of 22 swg thick MS Sheet all having Duco Metal Paint of Approved Color, 4 nos 12mm board partition on table and imported Knob of approved design, necessary Aluminum Cable Cap, 2 nos Key Board Tray, Perforated ACP Sheet Separator at leg level with proper hanging arrangement etc. All complete with necessary hardware and to be executed as per design, drawing and direction of Architect/Authority. Without Drawer Unit | SET | 1 |  | 0
7 | HEAD TELLER TABLE ( 4' X 2'-2") [BRANCH] Supply, fitting & fixing of head trailer table made of partex board laminated, including drawer unit, Key board tray and best quality hardware materials etc. complete in all respect as per design, drawing and direction of Architect/Authority. | NOS | 0 |  | 0
8 | LOW HEIGHT/OVER HEAD CABINET Supply, fitting & fixing of low height cabinet made of 3/4" Partex board and best quality hardware materials etc. complete in all respect as per design, drawing and direction of Architect/Authority. | SFT | 65 |  | 0
9 | FULL HEIGHT CABINET Supply, fitting & fixing of full height cabinet made of 3/4" Partex board and best quality hardware materials etc. complete in all respect as per design, drawing and direction of Architect/Authority. | SFT | 60 |  | 0
12 | CHEQUE WRITING TABLE Supply, fitting & fixing of table made of Stainless steel framing and 8 mm babble glass top complete in all respect as per design, drawing and direction of Architect/Authority. | NOS | 1 |  | 0
14 | FIXED/MOBILE DRAWER (WOODEN) Supply, fitting & fixing of drawer with 25mm thickness particle board and best quality hardware materials etc.complete in all respect as per design, drawing and direction of Architect/Authority. | NOS | 3 |  | 0
15 | PVC TABLE TOP Supply, fitting & fixing of running table top made of 25mm thickness PVC board with paint finish including best quality hardware materials etc. complete in all respect as per design, drawing and direction of Architect/Authority. | SFT | 20 |  | 0
16 | PRINTING / Photocopier TABLE Supply, fitting & fixing of printing table made of 25 mm Partex board and best quality hardware materials etc. complete in all respect as per design, drawing and direction of Architect/Authority. | NOS | 1 |  | 0
17 | Meeting Table ( Round) Supply, fitting & fixing of meeting table made of 25 mm Partex board and best quality hardware materials etc. complete in all respect as per design, drawing and direction of Architect/Authority. | SFT | 0 |  | 0
18 | PVC CABINET Supply, fitting & fixing of low height cabinet made of 3/4" PVC board and best quality hardware materials etc. complete in all respect with Enamel Paint as per design, drawing and direction of Architect/Authority. | SFT | 15 |  | 0
Sub Total |  |  |  |  | 0
J. IT & NETWORKING WORKS
1 | NETWORKING WORKS (FOR SUB BRANCH) PVC Conducting, Data Phase Plate Single or Double, approved Brand Cat - 6 (Physical Specification: Weight: 25.6lbs/1000 ft (38.2 kg/km) Jacket thickness: 0.022 in (0.56mm) Outside diameter: 0.232 in (5.89mm) Gauge: 23 AWG Electrical Specification: NVP (fastest pair @ 10MHz) : 69% Maximum DC resistance: 7.61 ohms/ 100m ETL: CMR) data cable, Closed Rack, Patch {panel, Patch Cords, Wire Manager and labor charges for punching , dressing the rack, new rack size- 9 U , wall mountain Copper plate by ceramic post etc complete in all respect as per design, drawing and direction of Architect/Authority (Network port- 12) | JOB | 1 |  | 0
Server Rack Brand: Kendall howard/Trip.lite/Toten (Original)
Server Rack Wire Manager: Panduit/ Systemax/AMP
Server Rack Patch Panel: Panduit/ Systemax/AMP
PDU: Totten/LE/JCNW/CE-yushicep
CAT-6 Cable brand: Panduit/ Systemax/AMP
Sub Total |  |  |  |  | 0
|  |  | Grand Total: |  | 0