## Summary
DESCRIPTION | AMOUNT
A. CIVIL WORKS | 0
B. DOORS & PARTITIONS | 0
C. ELECTRICAL WORKS | 0
D. PAINT WORKS & FLOOR FINISHING | 0
E. MS/SS/ACP WORKS | 0
H. MISCELLANEOUS WORKS | 0
NET TOTAL | 0

## BOQ
SL | Description of Item | UNIT | QUANTITY | PRICE | AMOUNT
A. CIVIL WORKS
1 | SITE MOBILISATION & PREPARATION WORKS | JOB | 1 |  | 0
2 | 5” THICK BRICK WORK Brick work with 1st class bricks of one brick width [±5”] in cement mortar (1:4) in exterior or interior walls in/c filling the interstices with mortar, racking out joints cleaning and soaking the bricks at least for 24 hours before use and necessary scaffolding, curing at least for 7 days etc. complete in all respect as per design drawing and direction of Architect/ Authority. | SFT | 0 |  | 0
3 | CEMENT PLASTER Minimum 3/4” thick cement plaster [1:5] to wall both inner and outer surface, finishing the corners and edges in/c cleaning the surface, scaffolding and curing at least for 7 days etc. complete in all respect as per design drawing and direction of Architect/Authority. | SFT | 170 |  | 0
Sub Total |  |  |  |  | 0
B. DOORS & PARTITIONS
1 | TEMPERED GLASS DOOR Supplying, fitting and fixing imported Frameless Tempered Glass Door having 10 mm thickness with all foreign made hardware of best quality available viz. Stainless steel handless concealed auto-closer, stopper, locking arrangement complete in all respect as per design, drawing and direction of Architect/Authority. Size : 3’- 0” W x 7’- 0” | NOS | 1 |  | 0
2 | ENGRAVED GYPSUM BOARD CEILING Supplying, fitting and fixing 10 mm thick approved quality Gypsum board false ceiling fixed over powder quoted T-bar & cross T of section 1”X 1½”, and L-angle of section 1” X 1” at edges, at 2’-0” X 2’-0” grid suspended from ceiling by 12 SWG double ply G.I. wire fixed to the ceiling by rowel plug, iron angles, screws, hooks, nails etc. maintaining straight lines and desired finished level at bottom face with vertical wooden strut as required in/c making holes in slabs, or beams by electric drill machine and mending good the damages, if any, during execution of the work in/c cost of all materials, accessories, scaffoldings, labor for installation, screws, nails, etc. complete in all respect as per design, drawing and direction of Architect/Authority. | SFT | 640 |  | 0
Sub Total |  |  |  |  | 0
C | ELECTRICAL WORKS
1 | Supply of 1×10rm NYY Cable, Brand: BRB/BBS/SQ (Meter to Unit Office DB) | Meter | 100 |  | 0
2 | Supply of 18 watt LED Bulb, Brand: Transtec/Osaka | Piece | 28 |  | 0
3 | Supply of Ceiling Fan, Brand: BRB/GFC/National | Piece | 2 |  | 0
4 | Supply of 6 Pin Socket, Brand: Wener/Legrand/Superstar | Piece | 22 |  | 0
5 | Supply of 1.3rm Cable, Brand: BRB/BBS/SQ | Meter | 400 |  | 0
6 | Supply of 1.5rm Cable Earthing, Brand: BRB/BBS/SQ | Meter | 150 |  | 0
7 | Supply of 2.5rm Cable, Brand: BRB/BBS/SQ | Meter | 200 |  | 0
8 | Supply of 2.5rm Cable Earthing, Brand: BRB/BBS/SQ | Meter | 40 |  | 0
9 | Supply of DB Board with necessary rating Busber | Piece | 1 |  | 0
10 | Supply of 3” ×3” MK PVC Box, Brand: RFL | Piece | 22 |  | 0
11 | Supply of 3 Gang Switch, Brand: Wener/Legrand/Superstar | Piece | 7 |  | 0
12 | Supply of 4 Gang Switch, Brand: Wener/Legrand/Superstar | Piece | 3 |  | 0
13 | Supply of 8” Exhaust Fan (Square wall), Brand: National Deluxe | Piece | 2 |  | 0
14 | Supply of 1” PVC Channel, Brand: RFL | RFT | 100 |  | 0
15 | Supply of ¾” PVC Channel, Brand: RFL | RFT | 100 |  | 0
16 | Supply of ½” Flexible Pipe, Brand: RFL | RFT | 70 |  | 0
17 | Supply of ½” PVC Pipe, Brand: RFL | RFT | 60 |  | 0
18 | Supply of ¾” PVC Pipe, Brand: RFL | RFT | 6 |  | 0
19 | Supply of 3 Pin Plug, Brand: Wener/Legrand/Superstar | Piece | 3 |  | 0
20 | Supply of SP-10A Circuit Breaker, Brand: ABB/Legrand | Piece | 5 |  | 0
21 | Supply of SP-16A Circuit Breaker, Brand: ABB/Legrand | Piece | 5 |  | 0
22 | Supply of TP-63A Circuit Breaker, Brand: ABB/Legrand | Piece | 1 |  | 0
23 | Supply of Bottom Holder | Piece | 38 |  | 0
24 | Concealed/exposed conduit wiring for following AC points from DB to AC outdoor unit including circuit wiring with BYA 1C- 4 Sq.mm & BYA 1CX1.5 sq. mm green ECC through PVC conduit of good quality of minimum 3/4" dia complete with all fixing materials following the provided design. Cable brand: BRB/Paradise |  |  |  | 0
24.1 | For Single phase AC | NOS | 0 |  | 0
24.2 | For Three phase AC |  | 1 |  | 0
Sub Total |  |  |  |  | 0
D. PAINT WORKS & FLOOR FINISHING
1 | PLASTIC PAINT Plastic painting of ‘Berger’ brand of approved color to wall minimum 3 coats with lime putty work, cleaning, sand papering the surfaces in/c. necessary scaffolding etc. complete in all respect as per direction of Architect/ Authority. | SFT | 2500 |  | 0
2 | Floor Tiles clean | SFT | 650 |  | 0
Sub Total |  |  |  |  | 0
E. MS/SS/ACP WORKS
1 | Collapsible Gate Supply, fitting & fixing collapsible gate with approved thickness and quality including locking arrangement and paint finish etc. complete in all respect as per design drawing and direction of Architect/ Authority. | SFT | 66 |  | 0
Sub Total |  |  |  |  | 0
H. MISCELLANEOUS WORKS
1 | Vertical BLIND Supplying, fitting and fixing in position imported best quality 125 mm wide vertical blinds of approved color and quality with all imported accessories complete in all respect as per design, drawing & direction of Architect/Authority. | SFT | 298 |  | 0
Sub Total |  |  |  |  | 0
NET TOTAL |  |  |  |  | 0